## Slide 1
Kiruna site report
Kiruna
Karlsruhe
Izaña
Thomas Blumenstock, Frank Hase, Jochen Groß, Qiansi Tu, KIT-IMK, Germany
Uwe Raffalski, Peter Völger, IRF Kiruna, Sweden
Yutaka Matsumi, Nagoya Univ., Japan

## Slide 2: Kiruna site report
Start in 03/1996, > 20 years of obs.!
Regular cell measurements
Remote control since 2004
Upgrade to 125 HR in July 2007
Camtracker software in 9/2010
In 2017: 66 days of observation
Solar tracking system failed in
July & August 2017
Breakdown of Norhof LN2 filling line
2 Thomas Blumenstock, NDACC-IRWG, 2018

## Slide 3: Kiruna & Izana: Issue with Norhof LN2 filling system
After ~12 years of operation e-caps (elcos) ‚dried out‘.
This failure damages the rest of the electronics severely.
Norhof doesn‘t repair elder systems (with old processor) anymore!
J. Groß was able to repair it!
Recommendation by J. Groß:
Replace e-caps after 10 year the latest!
Use better ones!
For further questions please contact him.
Same applies to Newport‘s controler of solar tracker motor stages!

## Slide 4: Kiruna: plus Bruker EM-27
4 Thomas Blumenstock, NDACC-IRWG, 2018
Set-up of Bruker EM-27 at IRF
using the same solar beam as HR
Complimentary to NDACC instrument
Measuring GHG (CO2 & CH4) with high precision
First results => talk by Qiansi Tu

## Slide 5: Kiruna site report
Data analysis:
PROFFIT 9.6
Data base:
NASA data: 1996 - end of 2007
HDF data: 1996 – March 2018
Species:
O3, HCl, HF, HNO3, N2O, CH4, ClONO2, C2H6, CO, HCN, NO2, NO
Last archiving date: May 2018
5 Thomas Blumenstock, NDACC-IRWG, 2018

## Slide 6: Projects
ESA project FRM4GHG
ESA project COCCON processor
ESA project TCCON automation
DLR project on TROPOMI validation
EU project Verify (F. Hase: EM-27 field campaign)
DFG project MOTIF (M. Schneider: IASI retrievals)
Proposals in review:
H2O isotopologue retrievals - MUSICA follow-on
(S. Barthlott)
ACTRIS-D: NDACC as infrastructure project for the
German/European roadmap
Job announcement: looking for a PhD student for TROPOMI validation project

## Slide 7: Summary site report
Measurements continued; Bruker EM-27 added
Data analysis and archiving up to date
Time series of more than 20 years
Publications: 20 papers in 2017 in total (not only NDACC)
Thanks to DLR & ESA projects!
Kiruna
Karlsruhe
Izaña

## Slide 8
Best regards from Karlsruhe FTIR group
Together with
Gezahegn Sufa Daba,
Univ. Addis Ababa,
visting us in May 2018
Gracias!