## Slide 1: Site Report Altzomoni Mexico
Michel Grutter, Wolfgang Stremme, Alex Bezanilla, Noemie Taquet, Ruben Pavia,
Alan Garcia Zuber, Beatriz Herrea
Center for Atmospheric Sciences
UNAM

## Slide 2: UNAM Group: espectroscopia y Percepción remota
Michel Grutter,(Chief)
Alejandro Bezanilla, Wolfgang Stremme (Staff),
Noemie Taquet (Posdoc, Volcanologist)
Ruben Pavia, (PhD-student)
Beatriz Herrera, Alan Garcia Zuber (Master students)
Other Group members:
Benedetto Schiavo (UV-SO2-Cam, PhD-student), Zuleica Ojeda (MAX-DOAS, PhD-student), Adriana (Posdoc, direct sun spectrometer, Pandora)
Former group members, we are still a little bit working with us:
Jorge Baylon (CO2) , finished his PhD in January 2018.
Cesar Guarin (CH2O, C2H6,) is now at University Autónoma de México
Cooperation with:
Claudia Rivera from the Chemistry Faculty and also with Robin Campion (Geophysics Insitute)

## Slide 3: Outline: Site Report
Altzomoni Site
Instrumentation
Measurements Altzomoni
Publications
Founding $
Quality controll
Problems

## Slide 4: Altzomoni Site
Estación de Altura Altzomoni
High-Altitude Station Altzomoni
Location: Izta-Popo National Park
Altitude: 3,985 m.a.s.l.
Coordinates: 19.1187 N, 98.6552 W

## Slide 5: Altzomoni Site
Altzomoni Site
5
Estación de Altura Altzomoni
High-Altitude Station Altzomoni
Location: Izta-Popo National Park
Altitude: 3,985 m.a.s.l.
Coordinates: 19.1187 N, 98.6552 W
5

## Slide 6: Altzomoni Site

## Slide 7: Location
30/05/16
Estación de Altura Altzomoni
High-Altitude Station Altzomoni
Location: Izta-Popo National Park
Altitude: 3,985 m.a.s.l.
Coordinates: 19.1187 N, 98.6552 W

## Slide 8: Instrumentation

## Slide 9: Instrument
IFS 120HR from Bruker (model year 1988, S/N A58-HI0420)
Donation from DLR to KIT in 2010 (M. Birk, DLR)
Full electronics upgrade to IFS 120/5HR in 2011
Max. OPD of 257 cm  spectral resolution of 0.0035 cm-1
Beam splitters: KBr and CaF2 (10 and 8 mrad wedges, resp.)
Detectors: MCT, InSb (N2-cooled) and InGaAs
Sealed compartment (not evacueted), ZnSe window
Solar tracker: KIT “Camtracker” design using a commercial telescope mount

## Slide 10: ILS: N2O cell spectrum and LINEFIT Analysis

## Slide 11: ILS
2018
N2O Cell measurements and ILS retrieval
We use for N2O the new Linefit 14
ILS in Altzomoni is not so good: We have to realign !!!!
Modulation efficiency is droping down below 85%

## Slide 12: Measurement Statistics: Altzomoni 2015 and 2016
Measurement days :
2017: 151 days (how to count,??
2018: 46 days
Measured Spectra: (0.005cm-1), (0.0075cm-1)
Measured Spectra (0.1cm-1) two times more
Year | SA | SB | SC | SD | SE | SF | SN
2017 | 287 | 284 | 976 | 288 | 293 | 416 | 8256
2018 | 197 | 260 | 843 | 285 | 270 | 411 | 959

## Slide 13: NDACC setup:
CaF
KBr
OPEN (NIR)
InGaAS (DC)
MCT (LN2,AC/DC)
InSb (LN2,DC)
F6
F5
F1
F2
F7
F3
F4
SO2
SIF4
(HNO3) (H2S)
SO2 (v1+v3)
HCl
(HBr)
HF
HCl
HF
700cm-1
9000cm-1
Fundamental
(strong)
1st Overtone
(weak)
Instrumentation IFS HR 120/5 + camtracker
(CO2)

## Slide 14: Measurement loop
V1_KBr.XPM
V1_KBr.XPM
Normal_1_KBr.XPM
V2_KBr.XPM
V2_KBr.XPM
Normal_2_KBr.XPM
V3_KBr.XPM
V3_KBr.XPM
Normal_3_KBr.XPM
v4_KBr.XPM
v4_KBr.XPM
Normal_4_KBr.XPM
v5_KBr.XPM
v5_KBr.XPM
Normal_5_KBr.XPM
V7_KBr.XPM
V7_KBr.XPM
Normal_7_KBr.XPM
V3_KBr.XPM
V3_KBr.XPM
Normal_3_KBr.XPM
v6_KBr.XPM
v6_KBr.XPM
Normal_6_KBr.XPM
Normal_6_KBr.XPM
Normal_NIR_KBr_2.xpm
Normal_NIR_KBr_2.xpm
Normal_NIR_KBr_2.xpm
Normal_NIR_KBr_2.xpm
Normal_NIR_KBr_2.xpm
Normal_NIR_KBr_2.xpm
v6_KBr.XPM
v6_KBr.XPM
Normal_6_KBr.XPM
Normal_6_KBr.XPM
V3_KBr.XPM
V3_KBr.XPM
Normal_3_KBr.XPM

## Slide 15: Publications 2017
Indicators of environmental contamination by heavy metals in leaves of Taraxacum officinale in two zones of the metropolitan area of Mexico City. Sandra Gómez-Arroyo, Arisbel Barba-García, Francisco Arenas-Huertero, Josefina Cortés-Eslava, Michel Grutter de la Mora, Rocío García-Martínez. Environmental Science and Pollution Research, Aceptado. 2017 doi.org/10.1007/s11356-017-0809-1 (ISSN: 0944-1344, IF: 2.741)
A low-cost long-term model of coastal observatories of global change. León Felipe Álvarez Sánchez, José Gilberto Cardoso-Mohedano, Edgar Escalante Mancera, Misael Diaz Asencio, Hugo López-Rosas, Maria Luisa Machain-Castillo, Martín Merino-Ibarra, Ana Carolina Ruiz Fernández, Rosalba Alonso-Rodríguez, Mario Alejandro Gómez-Ponce, Enrique Ávila-Torres, Serguei Rico-Esenaro, Miguel Ángel Gómez-Reali, Carlos Alberto Herrera-Becerril, Diego Ernesto Solórzano-Ramos, Michel Grutter. Journal of Marine Systems. Enviado 2017. (ISSN: 0924-7963, IF: 2.439)
Comparison of the GOSAT TANSO-FTS TIR CH4 volume mixing ratio vertical profiles with those measured by ACE-FTS, ESA MIPAS, IMK-IAA MIPAS, and 16 NDACC stations. Olsen, K. S., Strong, K., Walker, K. A., Boone, C. D., Raspollini, P., Plieninger, J., Bader, W., Conway, S., Grutter, M., Hannigan, J. W., Hase, F., Jones, N., de Mazière, M., Notholt, J., Schneider, M., Smale, D., Sussmann, R., and Saitoh, N. Atmos. Meas. Tech., 10, 3697-3718, 2017. doi.org/10.5194/amt-10-3697-2017 (ISSN: 1867-1381).
In situ biomonitoring of air quality in rural and urban environments of Mexico Valley through genotoxicity evaluated in wild plants. Gómez-Arroyo, S.; Cortés-Eslava, J.; Loza-Gómez, P.; Arenas-Huertero, F.; Grutter de la Mora, M.; Morton Bermea, O. Atmospheric Pollution Research. doi.org/10.1016/j.apr.2017.06.009. Published online July 29, 2017. [link]
Validation of the CrIS Fast Physical NH3 Retrieval with ground-based FTIR. Dammers E., Shephard M., Palm M, Cady-Pereira K., Capps S., Lutsch E, Strong K., Hannigan J., Toon G., Stremme W., Grutter M., Jones N., Smale D., Siemons J., Hrpcek K., Tremblay D., Schaap M., Notholt J., and Willem-Erisman J. Atmos. Meas. Tech., 10, 2645–2667, 2017. [link]
Continuous measurements of SiF4 and SO2 by thermal emission spectroscopy: Insight from a 6-month survey at the Popocatépetl volcano. Taquet N., Meza-Hernández I., Stremme W., Bezanilla A., Grutter M., Campion R., Palm M., Boulesteix T.. Journal of Volcanology and Geothermal Research 341 (2017) 255–268. doi.org/10.1016/j.jvolgeores.2017.05.009. [link]
Ground-based remote sensing of O3 by high and medium resolution FTIR spectrometers over the Mexico City basin. Plaza-Medina E.F., Stremme W., Bezanilla A., Grutter M., Schneider M., Hase F., and Blumenstock T.. Atmos. Meas. Tech., 10, 2703–2725, 2017. [link]
Background CO2 levels and error analysis from ground-based solar absorption IR measurements in central Mexico. Baylon, J. L., Stremme, W., Grutter, M., Hase, F., and Blumenstock, T.: Atmos. Meas. Tech., 10, 2425–2434, 2017. doi.org/10.5194/amt-10-2425-2017. [link]

## Slide 16: Publications 2018
Variability of the Mixed-Layer Height Over Mexico City. J. L. García-Franco, W. Stremme, A. Bezanilla, A. Ruiz-Angulo, M. Grutter. Boundary-Layer Meteorol. Published online 2018. doi.org/10.1007/s10546-018-0334-x (ISSN: 0006-8314, IF: 2.573)
Vigouroux, C., Bauer Aquino, C. A., Bauwens, M., Becker, C., Blumenstock, T., De Mazière, M., García, O., Grutter, M., Guarin, C., Hannigan, J., Hase, F., Jones, N., Kivi, R., Koshelev, D., Langerock, B., Lutsch, E., Makarova, M., Metzger, J.-M., Müller, J.-F., Notholt, J., Ortega, I., Palm, M., Paton-Walsh, C., Poberovskii, A., Rettinger, M., Robinson, J., Smale, D., Stavrakou, T., Stremme, W., Strong, K., Sussmann, R., Té, Y., and Toon, G.: NDACC harmonized formaldehyde time-series from 21 FTIR stations covering a wide range of column abundances, Atmos. Meas. Tech. Discuss., https://doi.org/10.5194/amt-2018-22, in review, 2018.
Borsdorff, T., aan de Brugh, J., Hu, H., Hasekamp, O., Sussmann, R., Rettinger, M., Hase, F., Gross, J., Schneider, M., Garcia, O., Stremme, W., Grutter, M., Feist, D. G., Arnold, S. G., De Mazière, M., Kumar Sha, M., Pollard, D. F., Kiel, M., Roehl, C., Wennberg, P. O., Toon, G. C., and Landgraf, J.: Mapping carbon monoxide pollution from space down to city scales with daily global coverage, Atmos. Meas. Tech. Discuss., https://doi.org/10.5194/amt-2018-132, in review, 2018.
Frey, M., Sha, M. K., Hase, F., Kiel, M., Blumenstock, T., Harig, R., Surawicz, G., Deutscher, N. M., Shiomi, K., Franklin, J., Bösch, H., Chen, J., Grutter, M., Ohyama, H., Sun, Y., Butz, A., Mengistu Tsidu, G., Ene, D., Wunch, D., Cao, Z., Garcia, O., Ramonet, M., Vogel, F., and Orphal, J.: Building the COllaborative Carbon Column Observing Network (COCCON): Long term stability and ensemble performance of the EM27/SUN Fourier transform spectrometer, Atmos. Meas. Tech. Discuss., https://doi.org/10.5194/amt-2018-146, in review, 2018.

## Slide 17: Funding
RUOA (UNAM), “University Network of Atmospheric Observatories” Coordinated by Michel Grutter
CONACY-SEBT (Ciencia Basica) No ( 239618) finished after summer
Conacyt-AME (Mexican spacE Agency) No 275239
Conacyt-ANR (Mexico France) No 290589 “Merci-CO2”.
CONACY-IRWG (TCCON-NDACC) No 293104
PAPIIT (IN107417)
PAPIIT (IN141018)
CONACYT-fellowships : Beatriz, Alan, Ruben
Francce-Mexico- Fellowship:: Noemie
Universidad Nacional
Autónoma de México
University Network of
Atmospheric Observatories

## Slide 18: QC-SO2
2018 TCCON/IRWG Meeting COCOYOC, Mexico: Site Report Altzomoni, UNAM, Mexico

## Slide 19: QC:SO2_v1_QA.txt
2018 TCCON/IRWG Meeting COCOYOC, Mexico: Site Report Altzomoni, UNAM, Mexico
%gas/%method/retrieval.tepoch = 0, 2.0E9
%gas/%method/retrieval.totcol = -1.0E17, 10.4E25
%gas/%method/retrieval.relative_rms = 0.0, 0.012
%gas/%method/retrieval.meanwshift =-0.00000525, 0.0000052
%gas/%method/fitparameterraw.N2O 1 1 = 0.97, 1.2
%gas/%method/fitparameterraw.CH4 1 1 = 1.0, 1.2
%gas/%method/fitparameterraw.baseline 0 1 = -0.05, 1.525
bincomment.CLOUD_INDEX= 0.0, 0.22
bincomment.SIGNAL_TO_NOISE = 0.0, 50200.0
%gas/%method/error/partialcolumns.err_TOT[0] = -1.01E22, 3.50E17
%gas/%method/error/partialcolumns.err_ST[0] = -1.01E22, 3.50E17
bincomment.NONLINEARITY = 0.0, 0.001
binsec2.OPD = 0.0, 250.0
binsec1.Apparent_elev =-300.0, 550.0
binsec1.Azimuth = -300.0, 550.0

## Slide 20: QC:CH2O_v5cc_QA.txt
2018 TCCON/IRWG Meeting COCOYOC, Mexico: Site Report Altzomoni, UNAM, Mexico
%gas/%method/retrieval.tepoch = 0, 2.0E9
%gas/%method/retrieval.totcol = -1.0E10, 0.9160E16
%gas/%method/error/partialcolumns.err_TOT[0] = -0.0E15, 1.0E20
%gas/%method/retrieval.meanwshift = -0.000052, 1.99E-6
%gas/%method/retrieval.relative_rms = 0.0, 0.0022
%gas/%method/retrieval.dof = 0.5, 1.8
bincomment.SIGNAL_TO_NOISE = 450, 10000.0
%gas/%method/fitparameterraw.CH4 1 1 = -10.00, 1.08
%gas/%method/fitparameterraw.baseline 0 0 = -0.05E20, 1.78E7
szadifference_ephm = -1.0, 2.0
bincomment.QUALITY_FLAG = 0.5, 1.5
bincomment.NONLINEARITY = 0.0003, 0.0010
binsec2.OPD = 0.0, 250.0

## Slide 21: QC:CH2O_v5cc_QA.txt
2018 TCCON/IRWG Meeting COCOYOC, Mexico: Site Report Altzomoni, UNAM, Mexico

## Slide 22: Problems
Power-Blackouts: 1. restart of computer, 2. Solar tracker
Dome automatisation
Communication: Microwave Antenna
Temperature stability in the Container
The INSB detectors: third detector in one year
Scanner Cable: !!!!!!!!
Misalignment: We think the Collimator is still misaligned:
Friday we will solve all problems

## Slide 23: Thank you
2018 TCCON/IRWG Meeting COCOYOC, Mexico: Site Report Altzomoni, UNAM, Mexico