## Slide 2
Summary on CO2 exercises
Maria Makarova,
Corinne Vigouroux, Anatoly Poberovskiy, Hamud Imhasin
O
O
C

## Slide 3
- to get more information on tropospheric CO2?
- to retrieve CO2 profile (i.e. DOFS ≥2)?
- to find optimal strategy of CO2 TC retrievals
for St. Petersburg site?
- to test most promissing strategies for some of IRWG
sites (BIRA sites)?
Study was initiated by Corinne (thanks!).
MOTIVATION

## Slide 4
STEPS
- to learn more (papers) on CO2 retrievals with the focus
on IRWG strategies;
- to seek new perspective spectral region/mws;
- to make retrievals using published and new strategies,
and their combinations (test period is 2015);
- to compare our results with CO2 data acquired at the
nearest TCCON sites.

## Slide 5
CO2 RETRIEVAL STRATEGIES
Optical filters for InSb detector: standard IRWG set and St. Petersburg site set
S. Barthlott et al. AMT, 2015
4mws in 2620.55 – 2629.95
“2600” strategy
M. Buschmann et al.
AMT, 2016
2mws in 3160.14 – 3161.80 - “3100” strategy
2mws in 3315.5 – 3344.94 - “3300” strategy
St.Petersburg
set of broadband filters
IRWG set of filters
F1
F2
#0
#1
#1b
#2
#3
#4
Present study,
4884.9 – 4888.4 - “4880”
strategy

## Slide 6
RETRIEVAL DETAILS
Base strategy | Retrieved species | Reg. type, SNR | Input and a priori information
2600 | CO2, H2O, HDO, CH4 | TP L1 SNR=200 (for retrievals) | Spectral databases: CO2 and etc. - HITRAN2008, H2O, HDO – HITRAN2009; a priori gas profles - WACCM v.6; p-T profiles – NCEP.
3100 | CO2, H2O, O3, CH4 |  | 
3300 | CO2, H2O, C2H2, N2O, HCN |  | 
4880 | CO2, O13CO, CO18O, CH4 |  | 
For XCO2 calculations we use atmospheric pressure value measured by precise barometer while spectrum is acquired .
Test period - 2015

## Slide 7
CO2 TC AVK
For published CO2 retrieval strategies and their combinations:
sensitivity has max in the stratosphere
DOFS 1.0 – 1.8 (DOFS_trp 0.4 – 0.8)
1.8
1.4
1.0
1.8
1.7

## Slide 8
SPECTRA
2600_F2
DOFS_trp = 0.6
3100_F1
DOFS_trp = 0.4
3300_F1
DOFS_trp = 0.8
4880_F1 OPD=180 cm
DOFS_trp = 1.2
Spectral interval of interest:
- relatively wide;
- strong CO2 lines;
- CO2 lines wings free from interfering gases;
- covered by IRWG optical filters.
A number of intervals have been tested,
4884.9-4888.4 cm-1 – most perpective at the moment.
SNR≥500
SNR~200
SNR~200
SNR~200

## Slide 9
CO2 TC AVK
For suggested 4880 strategy and its combinations with 2600, 3100 and 3300 strategies: sensitivity has max in the troposphere
DOFS 1.4 – 2.4 (DOFS_trp 1.0 – 1.2)
1.4
2.5
2.1
2.2
4880: OPD=18 cm
2600, 3100, 3300:
OPD=180 cm
1.9
2.2

## Slide 10
SUMMARY TABLE
strategy | <smoo>, % | <rand>, % | <syst>, % | <RMS> | <DOFS>/ <DOFS_trp> | <XCO2>, ppmv | <Daily variab.>, ppmv
2600_F2 | 1.0 | 2.4 | 5.2 | 0.15 | 1.4±0.2/0.6 | 406.8 | 0.8
4880+3300_F1 | 0.2 | 2.1 | 3.9 | 0.33 | 2.2±0.2/1.2 | 395.4 | 1.1
3300_F1 | 0.8 | 2.1 | 5.7 | 0.34 | 1.8±0.2/0.8 | 400.6 | 1.9
4880_F1_18 | 0.8 | 2.2 | 3.7 | 0.35 | 1.4±0.02/1.0 | 397.1 | 1.2
4880_F1_180 | 0.17 | 2.7 | 6.0 | 0.37 | 2.5±0.1/1.2 | 405.2 | 1.4

## Slide 11
St.Petersburg
Bremen r=0.88, bias= 8.8±1.4
Bialystok 0.86, 8.2±1.4
Sodankyla 0.84, 9.2±1.7
COMPARISONS WITH TCCON SITES
St.Petersburg
Bremen r=0.87, bias= -3.1±1.9
Bialystok 0.64, -3.2±2.4
Sodankyla 0.86, -2.7±1.8
4880+3300_F1
Day of 2015
2600_F2
St.P-Bi, 2600
St.P-So, 2600
St.P-Bi, 4880+3300
St.P-So, 4880+3300
Annual cycle
Annual cycle
, daily means
, daily means

## Slide 12
COMPARISONS WITH TCCON SITES (2)
Day of 2015
St.Petersburg
Bremen r=0.82, bias= 2.6±1.7
Bialystok 0.57, 2.3±2.4
Sodankyla 0.79, 1.9±2.3
St.Petersburg
Bremen r=0.79, bias= -0.8±3.3
Bialystok 0.63, -0.7±3.0
Sodankyla 0.85, -0.5±2.4
3300_F2
4880_F2_OPD=18cm
, daily means
, daily means
St.P-Bi, 4880
St.P-So, 4880
St.P-So, 3300
St.P-So, 3300
Annual cycle
Annual cycle

## Slide 13
CO2 PROFILES
2600_F2
3300+4880_F1
3300_F2
4880_F2_OPD=18cm

## Slide 14
SUMMARY
The optimal strategy for CO2 TC retrievals for St. Petersburg site is 2600 (F2 filter) (S. Barthlott et al. AMT, 2015) with tropospheric DOFS =0.6
Main issue with 4880 strategy: for St. Petersburg site we have a limitaion in SNRs for 3100-5000 cm-1 – payment for broadband filter F1 + KBr beamsplitter.
Nevertheless, first results obtained for 4800 cm-1 band seem to be optimistic - further study is needed.
EM27/SUN spectrometer kindly provided by KIT is starting its operation during this summer (I hope!) – great opportunity to compare our CO2 results with COCCON.

## Slide 15
ACKNOWLEDGEMENTS
Many thanks to colleagues from TCCON:
Justus Notholt and Thorsten Warneke - for CO2 data from Bialystok and Bremen sites;
Rigel Kivi - for CO2 data from Sodankyla.

## Slide 16
SUMMARY TABLE
strategy | <smoo>, % | <rand>, % | <syst>, % | <RMS> | <DOFS>/ <DOFS_trp> | <XCO2>, ppmv | <Daily variab.>, ppmv
2600_F2 | 1.0 | 2.4 | 5.2 | 0.15 | 1.4±0.2/0.6 | 406.8 | 0.8
4880+3300_F1 | 0.2 | 2.1 | 3.9 | 0.33 | 2.2±0.2/1.2 | 395.4 | 1.1
3300_F1 | 0.8 | 2.1 | 5.7 | 0.34 | 1.8±0.2/0.8 | 400.6 | 1.9
4880_F1_18 | 0.8 | 2.2 | 3.7 | 0.35 | 1.4±0.02/1.0 | 397.1 | 1.2
4880_F1_180 | 0.17 | 2.7 | 6.0 | 0.37 | 2.5±0.1/1.2 | 405.2 | 1.4
3100_3300_F1 | 0.8 | 2.2 | 5.8 | 0.32 | 1.8±0.2/0.8 | 399.5 | 1.9
2600_3100_3300_F1 | 0.9 | 2.2 | 5.7 | 0.30 | 1.7±0.2/0.7 | 397.7 | 1.9
3100_F2 | 1.8 | 3.9 | 7.2 | 0.16 | 1.1±0.1/0.4 | 391.4 | 3.2