## Slide 1: Progresses in Infrastructure for Validation of Satellite Products over Northern China
P. Wang1,2, T. Wang1, M. Duan1, M. Zhou1,2, Y. Yang2, G. Wang1,
M. Duan1, M. Van Roozendael3, M. de Mazière 3
1, Institute of Atmospheric Physics, CAS, Beijing, China
2, University of Chinese Academy of Sciences, Beijing, China
3, Belgium Institute for Space Aeronomy, Brussels, Belgium

## Slide 2: Outline
Background
IFS125HR in Xianghe, China
IF125M in Xinglong, China
Future plan

## Slide 5
Notes: After 5 years of hard work, the TANSAT was launched in 22 December 2016 in North-west China. Conventional operation started on 11 February 2017.

## Slide 8
AOGS, Spectrometer for measuring Atmospheric CO2

## Slide 9: Three Observational modes: Nadir, Target, Sun-glint
Parameter | Specification
Orbit | Sun synchronous
Orbit Altitude | 700 km
Orbit inclination | 98◦
Over Local Time | 13:30+/-30
Payload WT | 500 kg
TANSAT
Notes: 3 observation modes: Nadir, Target, Sun-glint

## Slide 10: XCO2 Retrieval from Chinese TanSat

## Slide 11: Status of TanSat
L1 data has been released
Ground validation is urgently expected.

## Slide 12: Outline
Background
IFS125HR in Xianghe, China
IF125M in Xinglong, China
Future plan

## Slide 13: FTS (IFS125) Site Distribution

## Slide 14: Beijing, Xianghe, and Xinglong Stations
兴隆站 IFS125M
Xinglong St.
香河站 IFS125HR
Xianghe St.
50km
120km
Xinglong (40.4N, 117.6E, 960 m a.s.l)
Xianghe(39.8 N, 117.0E, 50 m a.s.l)
Notes: Location of the 2 sites

## Slide 15: Xianghe IFS125HR

## Slide 16: Testing measurements with InGaAs: Lamp spectra(Left); Solar spectra(Right)
Solar,InGaAs (DC) detector without Si detector
Xianghe, 2018/6/7
NIR lamp HCL cell, InGaAs AC
Xianghe, 2018/6/5

## Slide 17: Testing measurements with InSb: Solar spectra with 4 filters
Filter 1 NDACC InSb,Xianghe, 2018/6/7
Filter 2 NDACC InSb, Xianghe, 2018/6/7
Filter 3 NDACC InSb,Xianghe, 2018/6/7
Filter 4 NDACC InSb, Xianghe, 2018/6/7

## Slide 18: New PICARRO G2301 in Xianghe Station CO2/CH4/H2O

## Slide 19
MaxDOAS (UV-VIS) for measuring O3/NO2/SO2
Notes: MaxDOAS 于2007年安装在北京，大气所12楼楼顶,一年之后，运至香河并安装，现已在香河稳定运行超过10年。

## Slide 20: Experimental & Administration Building

## Slide 21
CE-318 photometer, TSI, MFRSR、global, direct, diffuse radiation, LW
Xianghe Aerosol-Cloud-Radiation Measurement
Platform（2004—Present）
Notes: 主要观测设备进行日常观测，规范获取观测数据
香河站气溶胶-辐射-云观测系统。CE-318太阳光度计、全天空成像仪、MFRSR、总辐射、直射辐射、散射辐射、长波辐射等观测仪器。

## Slide 22: VHF/MST radar for measuring wind

## Slide 23: 100mmeterogical tower
Meteorological Tower (100m)

## Slide 24: Objectives of XH Station
Observational base for middle atmosphere, one of national longitude chain monitor network
Regional climate and environment integrated observatory
Validation site for satellite remote sensed products
Test base for high technologies in atmospheric detection and demonstration base for atmospheric observation

## Slide 25: Outline
Background
IFS125HR in Xianghe, China
IF125M in Xinglong, China
Future plan

## Slide 26: Beijing, Xianghe, and Xinglong Stations
兴隆站
Xinglong St.
香河站
Xianghe St.
50km
120km
Xinglong (40.4N, 117.6E, 960 m a.s.l)
Xianghe(39.8 N, 117.0E, 50 m a.s.l)
Notes: Location of the 2 sites

## Slide 27: Xinglong Astronomical Observatory
Notes: Located at the same mountain top area of about 1 km^2;

## Slide 28: Xinglong Atmospheric Background Observational Station (XLABOS) 大气本底观测网兴隆站
Xinglong (40.4N, 117.6E, 960 m a.s.l)
Notes: View of Xinglong Site

## Slide 29
(2) Xinglong Atmospheric Background Observational Station (XLABOS)
(40.4N, 117.6E, 960 m a.s.l)

## Slide 30: Xinglong IFS125M
Starting time : Sep 2014
Detector: InGaAs with CaF2 beamsplitter
Notes: The IFS125M mobile system was deployed in XL in 2014.

## Slide 31
PICARRO G2301 in Xinglong Station CO2/CH4/H2O

## Slide 32
Radiation Measurement Platform in Xinglong Station
Notes: Radiation Measurement Platform in Xinglong Station.

## Slide 33
2015年1月至2016年1月，兴隆FTS的XCO2（上）和XCH4（下）时间序列
Notes: 同样，筛选出所有观测值满足XCO2反演误差小于0.6ppm，XCH4反演误差小于3ppb。
XCO2具有明显的季节性变化，冬季XCO2浓度高于夏季的浓度（虽然仅有一天的有效观测），季节性振幅可以达到8-10 ppm。XCO2的季节性变化特征可以合理解释：夏天植被的光合作用吸收了许多二氧化碳，导致浓度降低，而冬天植物的呼吸作用起主导，二氧化碳的浓度较高。
XCH4浓度在4月份达到极大之后迅速下降，在8月份至12月份浓度几乎不变。对比2016年的1月份XCH4观测值和2015年1月的观测值，发现XCH4在2015年一年内兴隆地区XCH4浓度增长了约15-20 ppb， 该数值要明显大于国际上其它站点的数值（～8 ppb）。

## Slide 34: Future Plan
Much more work to do with Xianghe 125HR…
Starts to do conventional measurements following standard rules
Employed to measure CO2 and validate satellite products of TanSat, GOSAT-2, OCO-2, TROPOMI, etc.
To become a member of TCCON and NDACC networks
Thanks for your attention!