## Slide 1
SITE Report
Universität Bremen
Mathias Palm
Christof Petri
Thorsten Warneke
Justus Notholt
Notes: <number>

## Slide 2
FTIR sites operated by the
University of Bremen
BLACK - NDACC/TCCON
BLUE - TCCON only
Notes: <number>

## Slide 3: Statistics
 | Ny Alesund | Bremen | Paramaribo | Palau
Days of measurements | 21 | 58 | 41 | 51*
Last year of submissions to NDACC Database ** | 2017 (9) | 2017 (7) | 2017 (4) | No submission
Data used in publications 2017 | 4 | 4 |  | 
*) All measurements in 2016 and 1017
**) Numbers in brackets are the gases submitted in 2017
Notes: <number>

## Slide 4: HCl measurements in Suriname
Notes: <number>

## Slide 5: OCS/N2O ratio over Palau
The instrument is equipped with an INSB cooled with a Stirling motor.
The sterling cooling failed in early 2017 and is since being repaired.
Palau is in the Pacific
Warmpool.
→ Tropospheric trace gases
may reach the stratosphere
in this region.
A high OCS/N2O ratio
Indicates a high value of OCS
in the troposphere.
Notes: <number>

## Slide 6: Polarstern campaign ”around Svalbard”
FTIR container
Notes: <number>

## Slide 7
Polarstern cruise:
Aim: variation of tropospheric trace gases and clouds
In parallel absorption and emission measurements using FTIR spectrometry
Emission lines:
CO2, O3, H2O, CH4, N2O
Notes: <number>

## Slide 8
Publications 2016/17
Barthlott, S. et.al. .Tropospheric water vapour isotopologue data (H216O, H218O, and HD16O) as obtained from NDACC/FTIR solar absorption spectra Earth System Science Data, 2017, 9, 15-29
Buschmann, M. et.al. The arctic seasonal cycle of total column CO2 and CH4 from ground-based solar and lunar FTIR absorption spectrometry Atmospheric Measurement Techniques, 10 (7), pp. 2397-2411, 2017
Buschmann, M. et.al. Retrieval of xCO(2) from ground-based mid-infrared (NDACC) solar absorption spectra and comparison to TCCON ATMOSPHERIC MEASUREMENT TECHNIQUES, 2016, Vol. 9(2), pp. 577-585
Dammers, E. et. al. Validation of the CrIS fast physical NH3 retrieval with ground-based FTIR Atmospheric Measurement Techniques, 10 (7), pp. 2645-2667 2017
Dammers, E., et.al. An evaluation of IASI-NH3 with ground-based Fourier transform infrared spectroscopy measurements ATMOSPHERIC CHEMISTRY AND PHYSICS, 2016, Vol. 16(16), pp. 10351-10368
Sun, Y. et.al. Technical note: Sensitivity of instrumental line shape monitoring for the ground-based high-resolution FTIR spectrometer with\newline respect to different optical attenuators Atmospheric Measurement Techniques, 10, 989-997, 2017
Wang, Y., et.al. Towards understanding the variability in biospheric CO2 fluxes: using FTIR spectrometry and a chemical transport model to investigate the sources and sinks of carbonyl sulfide and its link to CO2 ATMOSPHERIC CHEMISTRY AND PHYSICS, 2016, Vol. 16(4), pp. 2123-2138
Notes: <number>