## Slide 1
2010-2011 Arctic O3 / Vortex
Cold
Stable
Deep?
Persistent
Why?

## Slide 2
Geir Braathen, Markus Rex, Björn-Martin Sinnhuber, Florence Goutail, Farahnaz Khosrawi, Michael Pitts, Marc von Hobe
http://www.egu-media.net/component/option,com_frontpage/Itemid,1/

## Slide 9
Groundbased instruments
Left SAOZ network Right IAOSA (in situ) / NDACC FTS
Poker Flat
Eureka
Ny Alesund
Kiruna
Harestua

## Slide 10
UKMO Temperatures
Above 2010/2011
Modeled passive O3 vs measured at Sodlankyla (left)

## Slide 11
From SAOZ network / Florence Goutail
http://saoz.obs.uvsq.fr/O3Loss.html

## Slide 13
7/7/10

## Slide 17
C2H6
Simulation

## Slide 18
O3 Spectral Fit

## Slide 20
C2H6
3 separate absorption features
~ 1 cm-1 width each
Many indistinct lines
DOFS 1.2 - 1.8
O3
1 - 5 cm-1 window
Many distinct absorption lines
DOFS 5 - 6
Altitude Resolution Depends on:
Vertical profile
Spectroscopy
Interfering species
Spectral Resolution & SNR
Solar zenith angle

## Slide 23
Other Observations
  ENRICHED
    Balloons out of Kiruna
    2 flights Feb, 2 flights April
    Remote sensing & in situ platforms
Why?
so cold
so stable
Still elevated Cl reservoirs

## Slide 24
Storage
Computer
Bruker 120M
LN2
Reservoir
Solar
Tracker
Weather
Sensors
Solar
Guider
Detector
LN2
Fill
Control
Trailer Enclosure
Internet
Control
Interface

## Slide 25
C2H2, C2H4, C2H6, HCN, CO, CH4, HCOOH, H2CO,
13CH4, H2O, HDO
Pollution events
Biogenic changes in warming Arctic
FTS at : Thule, Eureka, Poker Flat, Ny Alesund, Kiruna, Harestua
Acetylene
Ethane
Hydrogen Cyanide
Arctic Study NMHC FTS Stations / Modeling Study

## Slide 26
Initial comparisons Thule total column & Mozart4
Ethane
Formaldehyde
Carbon Monoxide
H2CO – TAB ±20-30% still large differences?
CO – trend & annual cycle great maybe some work
Needed on PE events in 03, 04
C2H6 – mid summer low & trend great, winter build up
Not represented in MOZART

## Slide 27: 10y Arctic measurements – no significant trend Annual cycle ~x3 Our Summer mean peak 149±34ppt (168±81 in 1988 Talbot et al. 1991)
Above:
A: total columns all data note pollution events
B: tropospheric VMR, PE removed
Right:
Evolution of monthly mean VMR profiles for all measurements all years. Horiz bars 1s.
HCOOH Measurements at Thule

## Slide 28: Water Retrievals & NOAA FPH Sonde
3 Initial coincidences:
NOAA FPH sonde
NCAR FTS Retrieval @ 2930cm-1
WACCM chemical climatology
NCEP T-p-Z

## Slide 29: Thule ground-based FTS & ACE FTS March 2004,05,06 Correlation of Partial columns 12-41km and mean profile differences 14 < 500km, 35 < 1000km

## Slide 30: A-Priori & Averaging Kernels MLO, HI & Thule, GR