## Slide 1
TCCON/IRWG Meeting, Toronto, June 8-12 , 2015
Reunion Island Site Report
Bavo Langerock, Christian Hermans, Nicolas Kumps, Francis Scolas,
Corinne Vigouroux, Filip Desmet, Martine De Mazière
Belgian Institute for Space Aeronomy
Jean-Marc Metzger, Jean-Pierre Cammas
Université de la Réunion

## Slide 2: St. Denis
University of St. Denis (85 m)
Bruker 125/HR
CaF2 Beamsplitter & optics
Home-built tracker & electronics
Since September 2011
TCCON (InGaAs and Si)
NDACC (InSb)

## Slide 3: St. Denis: Events Since Last Meeting
Early January 2014: Cyclone Bejisa
March – April 2014: Nonoperational: (Virtual) roofing works
October 2014: Change of solar tracker setup (removing O-ring)
No more NDACC measurements since October 2013 for budgetary reasons
>>> Maïdo is now our principal NDACC station

## Slide 4: St. Denis: ILS – HCl Cell (linefit 12)
Frequency [cm-1]
Modulation efficiency
Modulation efficiency
as a function of time
between mid-2014
and mid-2015
0.96
1.02

## Slide 5: St. Denis: ILS – HCl Cell
Frequency [cm-1]
Phase error [rad]
as a function of time
between mid-2014
and mid-2015
-0.01
0.015

## Slide 6: Piton Maïdo
Maïdo Observatory (2200 m)
Bruker 125/HR
KBr Beamsplitter & optics
Home-built tracker & electronics
Since March 2013
NDACC (InSb and HgCdTe)
TCCON (InGaAs)

## Slide 7: Maïdo: Events Since Last Meeting
Mid August 2013: Failure of the tracker elevation stage
Early October 2013: Site visit: repaired the tracker
Also fixed a problem with a moving mirror in the detector compartment
(Mirror which selects between InSb and HgCdTe)
January 2014: It took about a month to get going again after cyclone Bejisa
>>> Power lines to the observatory had been damaged
September 2014: Laser replacement
January 2015: re-alignment
March 2015: SNR drop in spectra
Cyclone Bejisa
Tracker failure
Laser failure
LN2 shortage
sudden misalignment
electronics failure

## Slide 8: Degrading mirrors
Even worse at St Denis : dSNR/dt ~ -2.9/day!

## Slide 9: Maïdo: ILS – HBr Cell (linefit 12)
Frequency [cm-1]
Modulation efficiency
as a function of time
between mid-2014
and mid-2015
Hbr Cell: #50 of the 2011 series
Instrument re-alignment
0.98
1.04

## Slide 10: Maïdo: ILS – HBr Cell
Frequency [cm-1]
Phase Error [rad]
as a function of time
between mid-2014
and mid-2015
Frequency [cm-1]
Instrument re-alignment
-0.1
0.02

## Slide 11: Outlook: Reunion TCCON data calibration
In-situ calibration with an AirCore
Aircore coupled to a homing parafoil system or to a gliding wing
>>> June 18-25: test-flights in Sodankylä
>>> Sept 2014 – May 2015: Flight over Reunion
Partners:
>>> Huilin Chen at Rijksuniversiteit Groningen
>>> Reev River Aerospace (Galati, Romania)
>>> at Sodankylä:
with the support of Rigel Kivi, Pauli Heikkinen
BRAIN-be pioneering project (Belgian Science Policy Office)

## Slide 12: Outlook: Brasil
New site:
In the Amazon forest in Brasil
Porto Velho
Should be operational
within a few months
Bruker 125M
(upgraded St. Denis 120M)
CaF2 with InGaAs and InSb
Or
KBr with InSb and HgCdTe
>>> See poster...
Manaus
Porto Velho

## Slide 13
The location of Xinglong
Beijing
Xinglong
(40 º23’N 117º35’E; ASL 960m)
Year 2014: a Bruker 125M was installed at Xinglong
Year 2015: a Bruker 125HR was ordered  goal is to join TCCON in the future)
Outlook: collaboration with IAP (CAS) in China
Bruker 125M:
CaF2 Beamsplitter & optics
Sensor : InGaAs
The observations started from 2014.11
Future Bruker 125HR:
CaF2 Beamsplitter & optics
Sensor : InGaAs and Si

## Slide 14: Publications in 2014 – June 2015
Buchwitz, M., et al., The Greenhouse Gas Climate Change Initiative (GHG-CCI): comparison and quality assessment of near-surface-sensitive satellite-derived CO2 and CH4 global data sets, Remote Sensing of Environment, 162, 344-362, 2015.
Dammers, E., C. Vigouroux, et al., acp-2015-403, Submitted on 01 Jun 2015.
De Smedt, I., et al., Diurnal, seasonal and long-term variations of global formaldehyde columns inferred from combined OMI and GOME-2 observations, Atmos. Chem. Phys. Discuss., 15, 12241-12300, doi:10.5194/acpd-15-12241-2015, 2015.
Dils, B., et al., The Greenhouse Gas Climate Change Initiative (GHG-CCI): comparative validation of GHG-CCI SCIAMACHY/ENVISAT and TANSO-FTS/GOSAT CO2 and CH4 retrieval algorithm products with measurements from the TCCON, Atmos. Meas. Tech., 7, 1723–1744, doi:10.5194/amt-7-1723-2014, 2014

## Slide 15
Duflot, V., et al., Acetylene (C2H2) and hydrogen cyanide (HCN) from IASI satellite observations: global distributions, validation, and comparison with model, Atmos. Chem. Phys. Discuss., 15, 14357-14401, doi:10.5194/acpd-15-14357-2015, 2015.
Harris et al.,: Past changes in the vertical distribution of ozone – Part 3: Analysis and interpretation of trends, Atmos. Chem. Phys. Discuss., 15, 8565-8608, 2015, doi:10.5194/acpd-15-8565-2015, 2015.
Hassler, B., et al.: Past changes in the vertical distribution of ozone – Part 1: Measurement techniques, uncertainties and availability, Atmos. Meas. Tech., 7, 1395-1427, doi:10.5194/amt-7-1395-2014, 2014.
Inness, A., et al., Data assimilation of satellite retrieved ozone, carbon monoxide and nitrogen dioxide with ECMWF's Composition-IFS, Atmos. Chem. Phys. Discuss., 15, 4265-4331, doi:10.5194/acpd-15-4265-2015, 2015.
Publications in 2014 – June 2015

## Slide 16
Langerock, B., et al., Description of algorithms for co-locating and comparing gridded model data with remote-sensing observations, Geosci. Model Dev., 8, doi:10.5194/gmd-8-911-2015, 2014.
Stavrakou, T., et al., How consistent are top-down hydrocarbon emissions based on formaldehyde observations from GOME-2 and OMI?, Atmos. Chem. Phys. Discuss., 15, 12007-12067, doi:10.5194/acpd-15-12007-2015, 2015.
Vigouroux, C., et al., Trends of ozone total columns and vertical distribution from FTIR observations at eight NDACC stations around the globe, Atmos. Chem. Phys., 15, 2915-2933, doi:10.5194/acp-15-2915-2015, 2015.
Publications in 2014 – June 2015

## Slide 17: Funding situation / projects
Limited institute funding ; decreases
PRODEX funding stopped since beginning of 2014
National AGACC-II project funded until end of 2014.
UAV_Reunion (national project) (Oct. 2013 - March 2016)
National support for initiating implementation of an FTIR observatory in Brazil (Oct. 2013 – July 2016 )
EU FP7 project NORS until end Nov. 2014; limited continuation for BIRA until April 2015.
Subcontractor in EU FP7 InGOS and ICOS_Inwire (ending)
Limited support from EU ACTRIS RI project until March 2015.
EU H2020 QA4ECV & GAIA-CLIM & ConnectinGEO very limited support for 2014-2018
Limited support from EU Copernicus MACC-III (until mid-2015)
Limited support from ESA GHG-CCI (until end of Feb. 2017)

## Slide 18: Team Members
Team:
C. Hermans, B. Langerock, C. Vigouroux,
M. Sha (F. Desmet), N. Kumps,
M. De Mazière
Support by O. Rasson from the IT team at BIRA
Minqiang Zhou, Ph.D student, IAP, Chinese Academy of Sciences (CAS)
(fellowship at BIRA from March to end of Nov. 2015)