## Slide 1: Linelists evaluation
ClONO2 @ Jungfraujoch

## Slide 2: Conditions of tests
Two years of spectra fitted (2008 - 2009; about 700 spectra)
ClONO2 PLLs are used in all cases
Everything remains the same except:
  The spectroscopy for the interfering gases (ATM20 or HIT20 or HIT08)
  WACCMv7 used with ATM20 and HIT20
  SFIT-4 v1.0.16 i.o. v0.9.4.4
We compare the a priori and retrieved TOTCOL, RMS , DOFS

## Slide 3: WACCMv7 vs WACCMv6
WACCMv7 a priori columns are lower by 3.6%

## Slide 4: HIT20 vs HIT08 | TCOL
Retrieved ClONO2 total columns larger
by 5.6 % with HIT20; compact correlation

## Slide 5: HIT20 vs HIT08 | RMS
Improvement of the fitting residuals
with HIT20 by ~20%

## Slide 6: HIT20 vs HIT08 | DOFS
Marginal effect on the DOFS
lower by < 1% with HIT20

## Slide 7: ATM20 vs HIT08 | TCOL
Retrieved ClONO2 total columns larger
by 9.5% with ATM20; compact correlation

## Slide 8: ATM20 vs HIT08 | RMS
Improvement of the fitting residuals
with ATM20 by ~18%

## Slide 9: ATM20 vs HIT08 | DOFS
Marginal effect on the DOFS
lower by < 1% with ATM20

## Slide 10: Primary conclusions
No perturbation of the retrievals when switching to WACCMv7 (#iteration, DOFS…)
Main difference lies in the RMS, significantly improved with ATM20 and HIT20
HIT20 vs ATM20 =========== comparable performance; spread around the 1:1 line