## Slide 1
Sitereport Uni Bremen Bremen, Ny Alesund, Paramaribo (and Nicosia)
Justus Notholt and Mathias Palm
University
of Bremen

## Slide 2
Same filenumbers are not allowed in repository
  - CAMS27 files are v8, newer final versions are v9 → confusing
MCT spectra in Ny-Ålesund are degrading, retrieval does not work properly
→ investigation ongoing
PMB was almost a year out of operation
→ laser failure followed by solartracker failure

## Slide 3
No regular ILS measurements because there have been no longer stays since 2017. Our local support does not perform cell measurements
Bremen
Ny Alesund
Paramaribo

## Slide 4
Bremen
Operational
  Manual measurements by PhD students and technical staff
Funding: Internal, national projects, CAMS27, ACTRIS
Future plans
  Upgrading the Dome to enable automatic operation
Ny Alesund
Operational
  Semi automatic operation
  Use of extended Kbr (Poster of M. Buschmann & M. Palm) would be very beneficial
Paramaribo
Replacement in the framework of ACTRIS planned
  Construction started
  Container based station
  Automatic operation envisioned
  Relocation to French Guyana considered because French Guyana is European Union (Taxation)
Nicosia
First measurements
Not analysed yet

## Slide 5
Institute of
Environmental Physics
University
of Bremen
Site report Palau
Atmospheric observations in the Western Pacific on Palau
Justus Notholt1, Mathias Palm1, Xiaoyo Sun1, Katrin Müller2
1University of Bremen
2Alfred-Wegener-Institute for Polar and Marine Research, Potsdam

## Slide 6
Specifics of Palau (7.5°N, 134°E)
Ocean warmest wordwide
Very clean air
- air coming from east for 10.000 km
- no aerosols
- large droplets
- less lightning
- no NOx, low O3 and OH
- lifetime of molecules quite long
Pathway of air from the troposphere
into stratosphere
Tropospheric air around Palau determines
global composition of the stratosphere
Impact of monsoon
Good partners:
- Palau Community College
- Coral Reef Foundation
Stable politics
Stable electricity (failure once per week)

## Slide 7
(Rex et al., ACP, 2014)
Specifics of Palau (7.5°N, 134°E)

## Slide 8
Nature, News & Views, June 2023

## Slide 9
Atmospheric observations in Palau
(Mueller et al., submitted)
- FTIR-spectrometer (since 2016)
- ComCAL (Compact Cloud and Aerosol LIDAR, since 2018:
- Research Balloons (O3, aerosol, water)
- Pandora Max-DOAS spectrometer
- In-situ O3 monitor (since 2022)

## Slide 10
- Routine InSb-observations since 2018
- MCT-measurements on a campaign basis (August to October 2022)
FTIR-observations
Egon and Justus Sterling cooled InSb LN-machine at Coral Reef Foundation

## Slide 11
FTIR-observations
O3(0-12km)
FTIR
sonde
wavenumber (cm-1)

## Slide 12
FTIR-observations

## Slide 13
FTIR statistics in Palau
CH4 data
Measurement statistics
Funding
- Start in 2016 as part of EU-project StratoClim
- BMBF project 2019 - 2023
- Proposal submitted by Xiaoyu Sun in 2023

## Slide 14
Cobald (aerosol backscatter) and CFH (water vapour) sondes
(K. Mueller, AWI, unpublished)
9 March 2022

## Slide 15
Impressions (Kayangel atoll)

## Slide 16
Impressions (Kayangel atoll)

## Slide 17
Impressions (Kayangel atoll after typhoon in 2013)

## Slide 18
Impressions (Kayangel atoll after typhoon in 2013)

## Slide 19
Impressions (Kayangel atoll after typhoon in 2013)