## Slide 1: Log file for the retrieval of ILS at MLO
Working directories:
N2O: /data/Campaign/MLO/ilsFiles/lft145_n2o
HBr: /data/Campaign/MLO/ilsFiles/lft145_hbr
The working directories contain all the spectra and input files needed to retrieve the ILS with LINEFIT v145
Goal:
Participate in the N2O cell inter-comparison study of the NDACC-IRWG
To know the ILS of the updated instrument at MLO
Understand the important parameters in retrieval of the ILS and the information content

## Slide 2
N2O
Results presented here are from N2O spectra taken on April 09/10 2016:
N2O_InSb_34_040916.1  64 scans, 1.3mm APT, 0.0035 cm-1 resolution (257cm OPD)
N2O_InSb_34_040916.2  50 scans, 1.3 mm APT, 0.0050 cm-1 resolution (180cm OPD)
N2O_InSb_34_041016.2  50 scans, 1.3 mm APT, 0.0050 cm-1 resolution (180cm OPD)
The following background spectra are used to create a normalized spectra to cancel out the N2O and CO2 from the lab:
N2O_InSb_34-bkgrd_040916.0  50 scans, 1.3mm APT, 0.01 cm-1 resolution
N2O_InSb_34-bkgrd_041016.0  50 scans, 1.3mm APT, 0.01 cm-1 resolution
The most important input parameters are (Following Frank’s input file):
3 micro windows: 2167.03 - 2185.2
2222.825 - 2223.019
2224.457 - 2224.715
Temperature: 299.71 K (retrieved), column: 4.478e20, pressure: 0.8734 mbar
FOC: 418mm

## Slide 3
Example of the normalization using the three windows used in LINEFIT
N2O Spectrum: N2O_InSb_34_040916.1
Background: N2O_InSb_34-bkgrd_040916.0
There’s not really an apparent difference. This may be due by the fact
that at MLO the instrument runs under vacuum conditions?.

## Slide 4
Results using the normalized spectra: N2O_InSb_34_040916.1 (OPD = 257 cm)
Results using the normalized spectra: N2O_InSb_34_041016.2 (OPD = 180 cm)

## Slide 5
Results using the normalized spectra: N2O_InSb_34_040916.1 (OPD = 257 cm)
Results using the normalized spectra: N2O_InSb_34_041016.2 (OPD = 180 cm)

## Slide 6
Results using the normalized spectra: N2O_InSb_34_040916.1 (OPD = 257 cm)
Results using the normalized spectra: N2O_InSb_34_041016.2 (OPD = 180 cm)

## Slide 7
Remarks
In comparison with Thule there’s no a significant change of the normalized spectra, maybe due that the instrument is under vacuum conditions.
In comparison with Thule the residuals/RMS of the first long window improve significantly. The other two short windows are very similar.
The retrieved temperature is 299.71 K
The shift retrieved is about 6.62E-4
Things to understand: Averaging kernels, how to improve the averaging kernels, test other windows?

## Slide 8
HBr spectra taken on April 09 2016:
HBr_InSb_20_040916.0  Cell# 20, 2 scans, 1.3mm APT, 0.0035 cm-1 resolution (257cm OPD)
HBr_InSb_20_040916.1  Cell# 20, 2 scans, 1.3mm APT, 0.0035 cm-1 resolution (257cm OPD)
HBr_InSb_20_040916.2  Cell# 20, 2 scans, 1.3mm APT, 0.0035 cm-1 resolution (257cm OPD)
HBr_InSb_20_040916.3  Cell# 20, 64 scans, 1.3mm APT, 0.0035 cm-1 resolution (257cm OPD)
HBr_InSb_86_040916.0  Cell# 86, 2 scans, 1.3mm APT, 0.0035 cm-1 resolution (257cm OPD)
HBr_InSb_86_040916.1  Cell# 86, 64 scans, 1.3mm APT, 0.0035 cm-1 resolution (257cm OPD)
Results presented here are from HBr spectra taken on April 09 2016:
HBr_InSb_20_040916.3
HBr_InSb_86_040916.1
The most important input parameters are 14 microwindows
Temperature: 299.71 K (retrieved), column: 9.88e20 (fixed), pressure: 2.0 mbar
Maximal OPD: 257.0 (0.0035 cm-1), Maximal inclination: 1.37e-3 (APT: 1.15 mm / FOC: 418 mm)
HBr

## Slide 9
Selected windows for fit results of spectra HBr_InSb_20_040916.3

## Slide 10
Results using the spectra: HBr_InSb_20_040916.3

## Slide 11
Selected windows for fit results of spectra HBr_InSb_86_040916.1

## Slide 12
Results using the spectra: HBr_InSb_86_040916.1

## Slide 13
Remarks
The modulation efficiency obtained is very similar for both HBr and N2O
The averaging kernels look better when HBr is used.
The shift retrieved is about 1.0274E-03
Things to understand: Averaging kernels, how to improve the averaging kernels, test other windows?