## Slide 1: SFit4 Pre-Processing
Ivan Ortega, James Hannigan

## Slide 2: Introduction
This presentation describes the step-by-step procedures used by the NCAR OT group in the pre-processing of ground-based high resolution spectral data from the sites located at Thule Greenland, Mauna Loa, Hawaii and Boulder Colorado.
The necessary tools (mostly python and IDL scripts) are introduced.
These processing tools can be applied (with hopefully minimal changes) to any similar data set.
The Pre-Processing is an essential part prior to running SFIT4

## Slide 3
1) sfit-processing-environment
Location:
Inside NCAR LAN: https://git.ucar.edu/?p=sfit-processing-environment.git
Outside NCAR LAN: https://proxy. git.ucar.edu/?p=sfit-processing-environment.git
Description: This repository contains codes for pre and post processing sfit4
retrieval data. These codes also contain the error analysis for sfit4.
Permissions: This repository is global read with write permissions only to registered users.
2) SFIT4 Wiki
Location: https://wiki.ucar.edu/display/sfit4/Infrared+Working+Group+Retrieval+Code%2C+SFIT
Where to find the tools?

## Slide 4
General overview of Pre-Processing
1) Initial quality check of all spectra
2) Initial spectral database
3) Prepare house and external station data (weather data)
4) Append initial spectral data base with weather data
5) ZPTW Profiles (WACCM, NCEP, ERA-Interim)
6) Extract relevant spectral lines from HITRAN/ATM

## Slide 5
Input and Output Flow for Pre-Processing
Inputs
OPUS Files
Geometric calculations
Constructs spectral db file
Converts OPUS raw data to .bnr format
ckopus.f90
.bnr Files
Timestamp
Spectral DB
Ancillary Data
NCEP, ERA, WACCM
Interpolate with WACCM data to reach 120km
ZPTW Profiles
Zpt.nmc.120
Processes
Outputs
isotope.input
Reduced Spectral File
X_Y.hbin
sfitLayer0.py
Extract relevant spectral lines from HITRAN
hbin.f90
sfit4.ctl
hbin.input
HITRAN DB

## Slide 6
1) Initial quality check
An initial quality check on the spectrum is done using the IDL program ckop.pro.
Would you like to change the x range (p,d,n,f,q,y) : d
% FILE_DELETE: Removed file: /net/modeling1.acom.ucar.edu/otserver16/ya4/id/tab/20160520/s6h035a00.0.
Good
Bad
Note: 1) The OPUSREADERPATH=/data/bin needs to be set in the environment variables
2) Some changes need to be implemented for other sites

## Slide 7
2) Initial spectral database
A python program (mkSpecDB.py) is used to manage the creation of the initial spectral database file:
There are logical flags which control the creating of a file which list the folders processed
and whether bnr files are created. The output files have the names spDB_loc_YYYY.dat.
Example:
Filename Site SBlock TOffs TStamp Date Time SNR N_Lat W_Lon Alt SAzm SZen ROE Dur Reso Apd FOV LWN HWN Flt MaxY MinY FLSCN EXSCN GFW GBW s1ifml1a.0 MLO SNGC 0.0135 211530 20160101 21:15:30 0.0 19.54 155.57 3396.0 337.21 45.86 6348.2510 204.69 0.0035 BX 1.9139 3899.999 4349.998 1 7.773e+00 -2.333e-02 2 2 1 1 s2ifml1a.0 MLO SNGC 0.0135 211935 20160101 21:19:35 0.0 19.54 155.57 3396.0 338.42 45.50 6347.6927 204.69 0.0035 BX 1.9139 2849.999 3599.996 2 3.924e+00 -1.619e-02 2 2 1 1 s3ifml1a.0 MLO SNGC 0.0135 212343 20160101 21:23:43 0.0 19.54 155.57 3396.0 339.66 45.15 6347.1448 204.68 0.0035 BX 1.1962 2350.000 3199.997 3 1.734e+00 -1.317e-02 2 2 1 1 s4ifml1a.0 MLO SNGC 0.0135 212757 20160101 21:27:57 0.0 19.54 155.57 3396.0 340.96 44.81 6346.6041 204.69 0.0035 BX 1.9139 1849.999 2699.996 4 4.497e+00 -1.265e-02 2 2 1 1 s5ifml1a.0 MLO SNGC 0.0135 213205 20160101 21:32:05 0.0 19.54 155.57 3396.0 342.24 44.50 6346.0987 204.69 0.0035 BX 3.5885 1749.999 2099.998 5 1.251e+01 -2.121e-02 2 2 1 1 s6hfml1a.0 MLO SNGC -0.0149 210501 20160101 21:05:01 0.0 19.54 155.57 3396.0 334.19 46.88 6349.7453 0.00 0.0035 BX 4.0670 699.999 1349.996 6 2.527e+00 1.575e-03 2 4 1 1 s9ifml1r.0 MLO SNGC 0.0135 213625 20160101 21:36:25 0.0 19.54 155.57 3396.0 343.60 44.20 6345.5956 204.69 0.0035 BX 1.1962 4199.999 5299.997 9 9.220e-01 -8.305e-03 2 2 1 1 saifml1r.0 MLO SNGC 0.0135 214029 20160101 21:40:29 0.0 19.54 155.57 3396.0 344.89 43.94 6345.1507 204.69 0.0035 BX 1.1962 3800.000 4799.998 A 9.868e-01 -1.094e-02 2 2 1 1 s1ifml1a.0 MLO SNGC 0.0135 174437 20160102 17:44:37 0.0 19.54 155.57 3396.0 298.46 80.74 6371.8685 204.69 0.0035 BX 1.9139 3899.999 4349.998 1 6.346e+00 -3.613e-02 2 2 1 1
Program | Description
mkSpecDB.py | Main program to create initial spectral database
specDBInputFile.py | Input file for mkSpecDB.py program

## Slide 8
3) Prepare house data
House data is data that is recorded by the FTS autonomous system, such as outside temperature, pressure, wind direction, etc. A python program (station_house_reader.py) is created to read the various formats and create a standardized file.
There are logical flags which control the creating of a file which list the folders processed
and whether bnr files are created. The output files have the names spDB_loc_YYYY.dat.
Example:
Filename Site SBlock TOffs TStamp Date Time SNR N_Lat W_Lon Alt SAzm SZen ROE Dur Reso Apd FOV LWN HWN Flt MaxY MinY FLSCN EXSCN GFW GBW s1ifml1a.0 MLO SNGC 0.0135 211530 20160101 21:15:30 0.0 19.54 155.57 3396.0 337.21 45.86 6348.2510 204.69 0.0035 BX 1.9139 3899.999 4349.998 1 7.773e+00 -2.333e-02 2 2 1 1 s2ifml1a.0 MLO SNGC 0.0135 211935 20160101 21:19:35 0.0 19.54 155.57 3396.0 338.42 45.50 6347.6927 204.69 0.0035 BX 1.9139 2849.999 3599.996 2 3.924e+00 -1.619e-02 2 2 1 1 s3ifml1a.0 MLO SNGC 0.0135 212343 20160101 21:23:43 0.0 19.54 155.57 3396.0 339.66 45.15 6347.1448 204.68 0.0035 BX 1.1962 2350.000 3199.997 3 1.734e+00 -1.317e-02 2 2 1 1 s4ifml1a.0 MLO SNGC 0.0135 212757 20160101 21:27:57 0.0 19.54 155.57 3396.0 340.96 44.81 6346.6041 204.69 0.0035 BX 1.9139 1849.999 2699.996 4 4.497e+00 -1.265e-02 2 2 1 1 s5ifml1a.0 MLO SNGC 0.0135 213205 20160101 21:32:05 0.0 19.54 155.57 3396.0 342.24 44.50 6346.0987 204.69 0.0035 BX 3.5885 1749.999 2099.998 5 1.251e+01 -2.121e-02 2 2 1 1 s6hfml1a.0 MLO SNGC -0.0149 210501 20160101 21:05:01 0.0 19.54 155.57 3396.0 334.19 46.88 6349.7453 0.00 0.0035 BX 4.0670 699.999 1349.996 6 2.527e+00 1.575e-03 2 4 1 1 s9ifml1r.0 MLO SNGC 0.0135 213625 20160101 21:36:25 0.0 19.54 155.57 3396.0 343.60 44.20 6345.5956 204.69 0.0035 BX 1.1962 4199.999 5299.997 9 9.220e-01 -8.305e-03 2 2 1 1 saifml1r.0 MLO SNGC 0.0135 214029 20160101 21:40:29 0.0 19.54 155.57 3396.0 344.89 43.94 6345.1507 204.69 0.0035 BX 1.1962 3800.000 4799.998 A 9.868e-01 -1.094e-02 2 2 1 1 s1ifml1a.0 MLO SNGC 0.0135 174437 20160102 17:44:37 0.0 19.54 155.57 3396.0 298.46 80.74 6371.8685 204.69 0.0035 BX 1.9139 3899.999 4349.998 1 6.346e+00 -3.613e-02 2 2 1 1
Program | Description
station_house_reader.py | Main program to read house data files
HouseReaderC.py | Supporting program with formats of previous house data files

## Slide 9
3) Prepare external station data (weather data)
There are currently two external station data sources used (EOL for FL0, and CMDL for
MLO) only the EOL data needs to be pre-processed. The original format of this data is in
netcdf files. The program read_FL0_EOL_data.py reads the daily netcdf files and creates a yearly text file
Program | Description
pullAncillaryData.py | Program to automatically pull EOL and CMDL data
read_FL0_EOL_data.py | Main program to read EOL and CMDL data

## Slide 10
4) Append initial spectral data base with weather data
A python program was created to append the initial spectral database with the house and external station weather data.
Program | Description
appendSpecDB.py | Program to create the append spectral database file
appndSpecDBInputFile.py | Input file for appendSpecDB.py
The program reads in the initial spectral database file. It then searches the
house and external station files for weather data at the time of observation, plus a certain
number of minutes specified by the user. The mean of the data collected is calculated and a
new spectral database file is created.
The sfit4Layer1 processing looks for a database file with all years. Once you create a year
appended spectral database file you should copy or append this to the file which contains
all years processed

## Slide 11
Coadding spectra?
The program mkCoadSpecDB.py co-adds two bnr files together with the appropriate forward and backward scans. A new coadded bnr file is created. The program mkCoadSpecDB.py calls the C program coadd.c to co-add the files. The program mkCoadSpecDB.py requires an input file (CoadSpecDBInputFile.py).