## Slide 1: Langley Mobile Ozone Lidar (LMOL) Results during the DISCOVER-AQ Denver, CO Air Quality Campaign
Russell De Young
Science Directorate
NASA Langley Research Center
Hampton, VA 23681
Russell.j.deyoung@nasa.gov
William Carrion
Coherent Applications Inc.
Hampton, VA 23681
Denis Pliutau and Rene Ganoe
Science Systems and Applications Inc.
Hampton, VA 23681

## Slide 2: Langley Mobile Lidar is part of the Tropospheric Ozone Lidar Network (TOLNet)
UAH
NASA/LaRC
JPL/TMF
NOAA/ESRL
NASA/GSFC

## Slide 3: Colorado Population Density

## Slide 4: LMOL Location at Table Mountain, Golden, CO

## Slide 5: Denver Brown Cloud from Table Mountain, Golden, CO

## Slide 6: Lidar System Characteristics

## Slide 7: LMOL at South Table Mountain, Golden, CO

## Slide 8
Langley Mobile Ozone Lidar Schematic

## Slide 9: Atmospheric Ozone Results Boulder Atmospheric Observatory, Erie, CO and South Table Mountain, Golden, CO

## Slide 13
Background Ozone = 45 ppbv

## Slide 14
In-situ aircraft ozone

## Slide 18: Peak Ozone Lidar Trends from South Table Mountain, Golden, CO (July 16, 17 at Boulder Atmospheric Observatory, Erie, CO)
Background ozone 45 ppbv

## Slide 20: Backup slides

## Slide 21: Ozone Lidar Specifications
PUMP LASER | 
Green output of Nd:YLF laser | 12 mJ/pulse, 527 nm (max)
UV output for pumping Ce:LiCAF laser | 2.8 mJ/pulse, 263 nm (max)
Repetition rate | 1 kHz
LIDAR TRANSMITTER | 
Ce:LiCAF laser energy | 0.1-0.6 mJ/pulse 500 Hz each
Wavelength tuning range | 285-310 nm
Typical ozone wavelengths | 285.7 and 291.4 nm
Laser line width | 0.2 nm
Laser beam diameter, divergence | ~ 0.8 cm, 0.13 mrad
Transmitted green, divergence | 4 mJ/pulse, 527 nm (max); 0.85 mrad
LIDAR RECEIVER | 
Near Field Telescope | 40 cm dia. Newtonian (62% efficiency)
Fused silica optical fiber | 1 mm dia., NA=0.28
Field of view | 1.4 mrad
UV channel, λc 285-300 nm, T = 60% | PMT – analog + photon counting
Green channel , λc 527 nm, ∆λ = 0.3 nm, T = 43% | PMT – analog
Very near field telescope | 30 cm dia. Newtonian
POWER REQUIREMENTS | 
Laser + control system Chiller | 1 KW 1 KW

## Slide 22: Lidar System Mobility
The system has been configured to enable mobile operation from an environmentally controlled trailer, which is towed to sites equipped with power.
This mobility will allow the system to be set up at remote sites to support major air quality field campaigns.

## Slide 24: Science Investigations Addressed by the Langley Mobile Ozone Lidar
Provide high spatio-temporal profiles of Planetary Boundary Layer (PBL) and Free Troposphere (FT) ozone and aerosols to study the atmospheric structure that GEO-CAPE will observe and assess the fidelity with which a geo instrument can measure that structure.
Discover new structures and processes at the PBL/FT boundary, especially in the diurnal variation of that interface.
Help improve air-quality forecast models. Field an ozone lidar that would be suitable to populate a network to address the needs of NASA/EPA/NOAA air-quality scientists and managers who increasingly express a desire for ozone profiles.
Participate in Denver DISCOVER AQ campaign July 2014.
Improve understanding of ozone and aerosols aloft and surface ozone and PM values. Advance our understanding of processes controlling regional background atmospheric composition and their effect on surface air quality to prepare for the GEO-CAPE era.

## Slide 25: August 2, 2014
Denver, CO sounding of temperature and relative humidity at 12Z 2 Aug1
Chart: Temperature (K)
1 University of Wyoming, Department of Atmospheric Science, http://weather.uwyo.edu/upperair/sounding.html

## Slide 26
Hampton Roads Ozone profile: Example of Extended Range with Low Ozone and Little Transport

## Slide 27: Hampton Roads Ozone Profile: Example of Low Ozone Generation with Little Transport

## Slide 28: Hampton Roads Ozone Profile: Example of Ozone Transport and Local Ozone Generation

## Slide 29: Ozone Profile Extraction Routine